Application variants and controllers parameters

One controller

In basis of central heating point (CHP) automation are assigned wireframe (multiplate) or monoblock controllers. Controllers can interact with each other and with local equipment, forming integrated controlling system. Controllers are designed to work in man-made statics conditions, have non-erasable programe and data memory, have power inputs-outputs and have practically no need in galvanic detachment elements. They have heat and water counters, frequency transformers etc. connection ability through local data bus with various transmission protocols.

controller

Operator console

modem

Two or more controllers, connected through NovaNet data bus

NovaNet bus

controller

№ 1

controller

№ 2

modem

Operator console

controller

№ 1

RR232/485

NovaNet bus

controller

№ 2

modem

Operator console

Coupling unit

modem

вариант реализации связи

Controller(s) with expansion boxes

protocol LON, Modbus, Siemens etc.

heat-counter

heat-counter

ADAM 4000 unit