# Text boxes

Application variants and controllers parameters

In basis of central heating point (CHP) automation are assigned wireframe (multiplate) or monoblock controllers. Controllers can interact with each other and with local equipment, forming integrated controlling system. Controllers are designed to work in man-made statics conditions, have non-erasable programe and data memory, have power inputs-outputs and have practically no need in galvanic detachment elements. They have heat and water counters, frequency transformers etc. connection ability through local data bus with various transmission protocols.

modem

Operator console

controller

Two or more controllers, connected through NovaNet data bus

Operator console

modem

controller

№ 2

One controller

NovaNet bus

controller

№ 1

protocol LON, Modbus, Siemens etc.

Controller(s) with expansion boxes

вариант реализации связи

heat-counter

heat-counter

modem

Coupling unit

Operator console

modem

controller

№ 2

NovaNet bus

controller

№ 1

RR232/485

ADAM 4000 unit