BACnet in project tenders

Why BACnet ?

It gives us the possibility to interoperability (open systems)

We follow the market trends (ASHRAE)

*Became worldwide (American and European) standart

*We can enter in projects from the competition (modernization)

*New market segments are open for us :

Systemhouses which provide neutral SCADA systems

Facility Management Companies

When do we offer BACnet solution?

*In case of integration requirement.

*For new buildings (vertical or horizontal integration)

*For existing projects/buildings (for example : TU project /TAC etc...)

What do we have for BACnet solution ?

Integration on both automation and management level.

*Driver and native BACnet stations.

What do we need to offer for BACnet integration ?

*We have to ask for the PICS(protocol implementation

conformance statement) and BIBBS

*Compare with our PICS and BIBBS.

*Questioning the convenience.

*Declaration of the responsibilities.of both sides!!!!!!!

*Which data should be integrated. Concrete point analysis

BACnet - Description and documentation of the interoperability

•The Protocol Implementation Conformance Specification (PICS)

- Conformance classes

- Functional groups

- Services

- Objects and their properties

• The BACnet Interoperability Building Blocks (BIBBs)

The PICS of the EY3600 BACnet station
(Protocol Implementation Conformance Specification)

Conformity class 4

Special feature: changes made to
process variables are transmitted
automatically to the client

Functional groups

- Time

- Event initiation

- COV event initiation

- Device comm./management

Why SAUTER?

*Experience

*Flexible solutions (management and/or automation level)

*More functionalities (calendar, trendlog, loop objects...)

*Know-how and technical support.

*European BACnet organization member (BACnet interest group)

What are the advantages of BACnet card (EYK300) for Novanet ?

*The possibility to upgrade novaNet into BACnet.

*We can offer cheap solution on novaNet.

(through card or compact station)

*Futureproof and modular solution for BACnet.

*Upgrade into BACnet without any engineering cost.

# EYK300 BACnet-DDC from Sauter