# NRT 114 with EGS52/15

Remote control unit EGS52/15 for NRT 114 to:

- switch the operating mode

- adjust the setpoint of the room temperature

- work with external room sensor